## CPSF
Cost Proposal Submittal Form - ADDENDUM #1
Schedule of Quantities and Unit
RFP 2026-01 - Supply and Installation of Water Meters and Associated Assembly Components
Item # | Description | Size | Unit | Quantity | Price | Extended
Section A - Project Costs
A 1.1 | Small Meter Replacement: Removal of existing water meter, supply and installation of a water meter of the specified size, including all associated components as per the RFP Document | 19mm x 16mm (3/4" x 5/8") | Ea | 962 |  | 0
A 1.2 |  | 25mm (1") | Ea | 15 |  | 0
A 2.1 | Intermediate Meter Replacement: Removal of existing water meter, supply and installation of a water meter of the specified size, including all associated components as per the RFP Document | 38mm (1 1/2") | Ea | 6 |  | 0
A 2.2 |  | 50mm (2") | Ea | 3 |  | 0
A 3.1 | Large Meter Replacement: Removal of existing water meter, supply and installation of a water meter of the specified size, including all associated components as per the RFP Document | 102mm (4") | Ea | 2 |  | 0
A 4.1 | Minor Plumbing Perform plumbing modifications of the specified of the specified size to accommodate the meter installation including 1 to 3 fittings (copper, plastic, brass), adapters, compression fittings, pipe and consumables | Up to 20mm | Ea | 5 |  | 0
A 4.2 |  | 25mm | Ea | 1 |  | 0
A 4.3 |  | 38mm | Ea | 1 |  | 0
A 4.4 |  | 50mm | Ea | 1 |  | 0
A 4.5 |  | 102mm | Ea | 1 |  | 0
A 5.1 | Normal Plumbing Perform plumbing modifications of the specified of the specified size to accommodate the meter installation including 4 to 7 fittings (copper, plastic, brass), adapters, compression fittings, pipe and consumables | Up to 20mm | Ea | 5 |  | 0
A 5.2 |  | 25mm | Ea | 1 |  | 0
A 5.3 |  | 38mm | Ea | 1 |  | 0
A 5.4 |  | 50mm | Ea | 1 |  | 0
A 5.5 |  | 102mm | Ea | 1 |  | 0
A 6.1 | Large Plumbing Perform plumbing modifications of the specified of the specified size to accommodate the meter installation including 4 to 7 fittings (copper, plastic, brass), adapters, compression fittings, pipe and consumables | Up to 20mm | Ea | 5 |  | 0
A 6.2 |  | 25mm | Ea | 1 |  | 0
A 6.3 |  | 38mm | Ea | 1 |  | 0
A 6.4 |  | 50mm | Ea | 1 |  | 0
A 6.5 |  | 102mm | Ea | 1 |  | 0
A7.1 | Pre-Approved Hourly Work | WMI Certified | Per Hour | 32 |  | 0
A7.2 |  | Plumber | Per Hour | 32 |  | 0
A7.3 |  | Carpentry | Per Hour | 32 |  | 0
A7.4 |  | Electrician | Per Hour | 32 |  | 0
A8.1 | Crawl Space Premium Installation in a crawl space that is less than one metre in height and requires two people to safely perform the work, including all PPE required | All Sizes | Ea | 100 |  | 0
A9.1 | Confined Space Premium Installation in a confined space in compliance with required safety standards, including extra labour, testing and document test results, air exchange, tripod and PPE and the extra labour | All Sizes | Ea | 100 |  | 0
A10.1 | Line Freeze Perform a line freeze with C02 or electric freeze kit on the appropriate sized pipe in order to replace the building control valve (pre-approval required first) | All Sizes | Ea | 50 |  | 0
A11.1 | Minor Carpentry Equipment and labour to cut open a wall or stud to accommodate a meter installation. | All Sizes | Ea | 250 |  | 0
A12.1 | Normal Carpentry Supply and install of a cover box, equipment and labour to cut open a wall or stud to accommodate a meter install | Plastic Panel | Ea | 20 |  | 0
A12.2 |  | 50mm Deep | Ea | 50 |  | 0
A12.3 |  | 100mm Deep | Ea | 50 |  | 0
A12.4 |  | 150mm Deep | Ea | 50 |  | 0
A13.1 | Small Water Meter Supply Supply and delivery only for Municipality use outside of the project. Include gaskets. Year 1 pricing. | 19mm x 16mm (3/4" x 5/8") | Ea | 10 |  | 0
A13.2 |  | 25mm (1") | Ea | 10 |  | 0
A14.1 | Intermediate Water Meter Supply Supply and delivery only for Municipality use outside of the project. Include gaskets. Year 1 pricing. | 38mm (1 1/2") | Ea | 10 |  | 0
A14.2 |  | 50mm (2") | Ea | 10 |  | 0
A15.1 | Large Water Meter Supply Supply and delivery only for Municipality use outside of the project. Include gaskets. Year 1 pricing. | 102mm (4") | Ea | 10 |  | 0
Sub-Total | [5 empty] | 0
5% Contingency | [5 empty] | 0
13% HST | [5 empty] | 0
Grand-Total | [5 empty] | 0
* Grand-Total cost from Section A contains Proponents proposed upset limit price.
Section B - Per Unit Prices
B 1.1 | Isolation Valve Supply Supply and installation of isolation valves if required outside of the standard meter configuration installation. Requires pre-approval prior to use. Year 1 pricing. | 19mm | Ea | 1 |  | 0
B 1.2 |  | 25mm | Ea | 1 |  | 0
B 1.3 |  | 38mm | Ea | 1 |  | 0
B 1.4 |  | 50mm | Ea | 1 |  | 0
B 1.5 |  | 102mm | Ea | 1 |  | 0
B 2.1 | Water Meter Frost Plate Supply Supply and installation of frost plates if required outside of the standard meter configuration installation. Requires pre-approval prior to use. Year 1 pricing. | 19mm | Ea | 1 |  | 0
B 2.2 |  | 25mm | Ea | 1 |  | 0
B 2.3 |  | 38mm | Ea | 1 |  | 0
B 2.4 |  | 50mm | Ea | 1 |  | 0
B 2.5 |  | 102mm | Ea | 1 |  | 0
B 3.1 | Water Meter Base Supply Supply and installation of water meter bases if required outside of the standard meter configuration installation. Requires pre-approval prior to use. Year 1 pricing. | 19mm | Ea | 1 |  | 0
B 3.2 |  | 25mm | Ea | 1 |  | 0
B 3.3 |  | 38mm | Ea | 1 |  | 0
B 3.4 |  | 50mm | Ea | 1 |  | 0
B 3.5 |  | 102mm | Ea | 1 |  | 0
B 4.1 | Water Meter Meter Encoder Register Head Supply Supply and installation of water meter encoder register heads if required outside of the standard meter configuration installation. Requires pre-approval prior to use. Year 1 pricing. | 19mm | Ea | 1 |  | 0
B 4.2 |  | 25mm | Ea | 1 |  | 0
B 4.3 |  | 38mm | Ea | 1 |  | 0
B 4.4 |  | 50mm | Ea | 1 |  | 0
B 4.5 |  | 102mm | Ea | 1 |  | 0
B 5.1 | Dual Check Backflow Preventer Supply Supply and installation of dual check backflow preventer if required outside of the standard meter configuration installation. Requires pre-approval prior to use. Year 1 pricing. | 19mm | Ea | 1 |  | 0
B 5.2 |  | 25mm | Ea | 1 |  | 0
B 5.3 |  | 38mm | Ea | 1 |  | 0
B 5.4 |  | 50mm | Ea | 1 |  | 0
B 5.5 |  | 102mm | Ea | 1 |  | 0
B 6.1 | Pressure Reducing Valve Supply Supply and installation of pressure reducing valve if required outside of the standard meter configuration installation. Requires pre-approval prior to use. Year 1 pricing. | 19mm | Ea | 1 |  | 0
B 6.2 |  | 25mm | Ea | 1 |  | 0
B 6.3 |  | 38mm | Ea | 1 |  | 0
B 6.4 |  | 50mm | Ea | 1 |  | 0
B 6.5 |  | 102mm | Ea | 1 |  | 0
B 7.1 | Pressure Reducing Valve Lock Nut Supply Supply and installation of pressure reducing valve lock nut if required outside of the standard meter configuration installation. Requires pre-approval prior to use. Year 1 pricing. | 19mm | Ea | 1 |  | 0
B 7.2 |  | 25mm | Ea | 1 |  | 0
B 7.3 |  | 38mm | Ea | 1 |  | 0
B 7.4 |  | 50mm | Ea | 1 |  | 0
B 7.5 |  | 102mm | Ea | 1 |  | 0
B 8.1 | Pressure Reducing Valve Operating Bolt Supply Supply and installation of pressure reducing valve operating bolt if required outside of the standard meter configuration installation. Requires pre-approval prior to use. Year 1 pricing. | 19mm | Ea | 1 |  | 0
B 8.2 |  | 25mm | Ea | 1 |  | 0
B 8.3 |  | 38mm | Ea | 1 |  | 0
B 8.4 |  | 50mm | Ea | 1 |  | 0
B 8.5 |  | 102mm | Ea | 1 |  | 0
B 9.1 | Isolation Valve Supply Supply and installation of isolation valve if required outside of the standard meter configuration installation. Requires pre-approval prior to use. Year 1 pricing. | 19mm | Ea | 1 |  | 0
B 9.2 |  | 25mm | Ea | 1 |  | 0
B 9.3 |  | 38mm | Ea | 1 |  | 0
B 9.4 |  | 50mm | Ea | 1 |  | 0
B 9.5 |  | 102mm | Ea | 1 |  | 0
B 10.1 | Drain Port Supply Supply and installation of drain port if required outside of the standard meter configuration installation. Requires pre-approval prior to use. Year 1 pricing. | 19mm | Ea | 1 |  | 0
B 10.2 |  | 25mm | Ea | 1 |  | 0
B 10.3 |  | 38mm | Ea | 1 |  | 0
B 10.4 |  | 50mm | Ea | 1 |  | 0
B 10.5 |  | 102mm | Ea | 1 |  | 0
B 11.1 | Building Control Valve Supply and installation of building control valve if required outside of the standard meter configuration installation. Requires pre-approval prior to use. Year 1 pricing. | 19mm | Ea | 1 |  | 0
B 11.2 |  | 25mm | Ea | 1 |  | 0
B 11.3 |  | 38mm | Ea | 1 |  | 0
B 11.4 |  | 50mm | Ea | 1 |  | 0
B 11.5 |  | 102mm | Ea | 1 |  | 0
** Costs from Section B include per unit costs in addition to the Section A costs in-case they are required. Year 1 pricing only. Not to be utilized without approval from the Municipality.
All prices submitted must be in Canadian Dollars. If the Proposal is submitted by or on behalf of any Corporation, it must be signed in the name of such Corporation by someone who has authority to bind the corporation. If the Proposal is being submitted by or on behalf of any Partnership, it must be signed in the name by someone who has authority to bind the partnership and witnessed. If the Proposal is not being submitted on behalf of a Corporation, the Bidder's signature must be witnessed.
Dated at _______________________ this ____ day of _______________________, 2024. Company Signature _________________________________________________________ Signature __________________________________________________________________ Witness ___________________________________________________________________